## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-07-23 | n | staff | 21W001295 | famis | GM-F120 EL | Glenmor F120 Electrical Room the lighting is very dim need to replace the lights | M10m11 | relamped all 5 fixtures | staff | close
| n | staff | 21W001296 | famis | GM-I126 EL | Glenmor I126 Electrical Room the lights need to be replaced it is not bright enough in the room | M10m11 | replaced T8 light | staff | close
| n | ext-maint | 21W001340 | famis | GM-F103 SH | light fixture out in shop storage area | M10m11 | replaced T8 light | staff | close
| n | ext-maint | 21W001341 | famis | GM-F103-C | ceiling light fixture out | M10m11 | replaced T8 light | staff | close
| n | ext-maint | 21W001342 | famis | GM-F108 ST | ceiling light fixture out | M10m11 | replaced T8 light | staff | close
| n | ext-maint | 21W001343 | famis | GM-F118 CL | ceiling light fixture out | M10m11 | replaced T8 light | staff | close
| n | ext-maint | 21W001344 | famis | GM-K105 ME | ceiling light fixture out | M10m11 | replaced T8 light | staff | close
| n | ext-maint | 21W001345 | famis | GM-K121 ME | ceiling light fixture out | M10m11 | replaced T8 light | staff | close
| n | ext-maint | 21W001346 | famis | GM-K106-A | ceiling light fixture out | M10m11 | replaced T8 light | staff | close
| n | ext-maint | 21W001347 | famis | GM-I224-TE | ceiling light fixture out | M10m11 | replaced T8 light | staff | close
| n | ext-maint | 21W001348 | famis | GM-J303 EL | ceiling light fixture out | M10m11 | replaced T8 light | staff | close
| n | ext-maint | 21W001349 | famis | GM-L | interior stairwell lighting | M10m11 | walked all floor of interior stairwells all lighting is on | staff | close