## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-07-31 | n | BM1 | n/a | radio | AVC- | assist staff on fire response | M10M11 | closed down secured building per BM1 | staff | close
| n | BM1 | n/a | radio | AVC- | second floor exterior landing holding water | M10M11 | unclogged floor drains cleared debris | staff | close
| n | resident | 21W001769 | famis | FA-05K-KIT | light over stove is out | M10M11 | replaced appliance light | resident | close
| n | resident | 21W001788 | famis | FA-05K-KIT | living room light out | M10M11 | replaced overhead light | resident | close
| n | resident | 21W001789 | famis | FA-05K-KIT | disposal clogged | M10M11 | reset disposal | resident | close
| n | resident | 21W001770 | famis | OB-111 | resident needs a temp HVAC unit was informed their system would not work until Monday | M10M11 | installed temp unit | resident | close
| n | ext-maint | 21W001791 | famis | PH-H-GROUN | bollard light out | M10M11 | replaced light | resident | close
| Y | resident | 21W001766 | famis | OB-015 | toilet clogged not flushing | M10M11 | augered toilet heavily,removed silverware from drain | follow-up | open
| n | resident | 21W001790 | famis | OB-015 | tub leaking | M10M11 | replaced tub spout | resident | close
| Y | ext-maint | n/a | staff | OB- | carport lights by A-B are out | M10M11 | timer not kicking on for the area by A-B carport | follow-up | open