## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-08-19 | Y | ext-maint | n/a | staff | PH-H106-GA | ceiling tile fell due to ac leak | M10M11 | inspected 2nd floor to confirm ac pan leak,need housekeeping to follow up to clean carpet and ac pan checkedleft cans to catch water- | follow-up | open
| n | staff | 21W002842 | famis | PH-H106-GA | One of the double doors to the game room will not close shut | M10M11 | right side door was dragging adjusted door to close shut | staff | close
| n | staff | 21W002848 | famis | PL-BUILDIN | drive in gate not closing | M10M11 | reset drive in gates | staff | close
| n | ext-maint | 21W002852 | famis | PH-M-GROUN | relamp walkway pole lamp PHM-Lot 21 | M10M11 | retro-fitted pole lamp with LED removed transformer direct wired | staff | close
| n | ext-maint | 21W002853 | famis | PH-L-GROUN | relamp walkway pole lamp PHL-Lot 21 | M10M11 | retro-fitted pole lamp with LED removed transformer direct wired | staff | close
| n | ext-maint | 21W002854 | famis | PH-L-GROUN | relamp walkway pole lamp PHL-Lot 21 | M10M11 | retro-fitted pole lamp with LED removed transformer direct wired | staff | close
| n | ext-maint | 21W002855 | famis | PH-L-GROUN | relamp walkway pole lamp PHL-Lot 21 | M10M11 | retro-fitted pole lamp with LED removed transformer direct wired | staff | close
| n | ext-maint | 21W002856 | famis | PH-K-GROUN | relamp walkway pole lamp PHK-Lot 21 | M10M11 | retro-fitted pole lamp with LED removed transformer direct wired | staff | close
| n | ext-maint | 21W002857 | famis | PH-K-GROUN | relamp walkway pole lamp PHK-Lot 21 | M10M11 | retro-fitted pole lamp with LED removed transformer direct wired | staff | close