## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-08-20 | N | resident | 21W002956 | famis | BB-S102 | drain clogged disposal jammed | M10M11 | reset unclogged disposal | resident | close
| N | resident | 21W002932 | famis | BB-S102 | The water flow in my kitchen is so weak, compared to the one in my bedroom. I think we need to replace the faucet aerator to make it flow better | M10M11 | flushed lines replaced aerator | resident | close
| Y | resident | 21W002938 | famis | BB-S206 | Refrigerator needs checking. Food is not being cooled down enough. Also the door is not being closed tightly | M10M11 | freezer is working,fridge temp was low reset motor fan started running, | follow-up | open
| N | resident | 21W002957 | famis | BB-S213 | front door lock jamming | M10M11 | lubed lock jammed with gm key | resident | close
| N | resident | 21W002916 | famis | BB-S213 | Restroom was left locked by one of the individuals that cleaned my space. Door from my end was left locked. So I've been locked out | M10M11 | checked door was open resident was able to use | resident | close
| Y | BM1 | n/a | radio | BBJ-102 | landscape drain outside J102 backed up | M10M11 | snaked drain to clear is not connected drain is capped off,also the ladnscape valve is leaking | follow-up | open
| N | BM1 | n/a | radio | BBK-202 | lock down unit | M10M11 | secured unit and locked | staff | close
| N | BM1 | n/a | radio | BBO-303 | lock down unit | M10M11 | secured unit and locked | staff | close
| Y | central plant | n/a | ext-phone | Getaway Café- | call from central plant HVAC not working | M10M11 | the hvac not working need ac tech to inspect | follow-up | open
| y | resident | 21W002955 | famis | OB-059 | water is leaking inside their restroom and has created a bubble on the wall | M10M11 | leak from upstairs tub -cut and drained excess water leak only happened when the upstairs was used unit 60 | follow-up | open