## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-08-25 | n | staff | 21W003177 | famis | PHQ-100 | Please move the Sit-Down monitor arm in the Pentland Hills RSO to Housing Admin 107. Existing monitors on the arm can be removed and left on the desk. Do not need any of the computer equipment. Only need the arm moved | M10M11 | removed stand and installed in office 107- | staff | close
| n | staff | 21W003180 | famis | HOUS-ADMIN | The timer of the building exterior lights needs to be adjusted. I might have been reset during the last power outage | M10M11 | inspected timer point turn on at 7am shut off at 6pm were set | staff | close
| Y | resident | 21W003209 | famis | FA-02S-KIT | leak under sink when the diposal is turned on | M10M11 | resident requested daytime kitchen in use | follow-up | open
| n | ext-maint | 21W003249 | famis | FA-02S | wasp nest at entry | M10M11 | knocked nest removed | staff | close
| n | ext-maint | 21W003243 | famis | PH-E113-EL | replace exterior hallway light | M10M11 | replaced light in hanging hallway fixture | staff | close
| n | ext-maint | 21W003244 | famis | PH-F111-FO | replace exterior hallway light | M10M11 | replaced light in hanging hallway fixture | staff | close
| n | ext-maint | 21W003245 | famis | PH-G111-TE | replace exterior hallway light | M10M11 | replaced light in hanging hallway fixture | staff | close
| n | ext-maint | 21W003246 | famis | PH-G110-WO | replace exterior hallway light | M10M11 | replaced light in hanging hallway fixture | staff | close
| n | ext-maint | 21W003247 | famis | PH-F110-WO | replace exterior hallway light | M10M11 | replaced light in hanging hallway fixture | staff | close
| n | ext-maint | 21W003248 | famis | PH-H102-TR | replace exterior hallway light | M10M11 | replaced light in hanging hallway fixture | staff | close
| n | BM1 | n/a | radio | BBN-103 | secure unit | M10M11 | locked up unit secured after carpet install | staff | close
| Y | BM1 | n/a | radio | OB-99 | tub leaking | M10M11 | cartridge broken-no parts in stock need shutdown to replace tub is not leaking | follow-up | open
| Y | resident | 21W003242 | famis | OB-99 | ac leaking | M10M11 | inspect condensation pan drain | follow-up | open