## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-08-28 | N | BM1 | N/A | RADIO | FK-OB | power outage | M10M11 | power restored around 8pm oban-falkirk | STAFF | CLOSE
| N | BM1 | N/A | RADIO | OB-pool | pool equipment shut down | M10M11 | shut off all equipment in pool room | STAFF | CLOSE
| N | BM1 | N/A | RADIO | FK-pool | pool equipment shut down | M10M11 | shut off all equipment in pool room | STAFF | CLOSE
| N | STAFF | N/A | RADIO | PL-gate | plaza gate not working | M10M11 | reset gates manually | STAFF | CLOSE
| N | STAFF | N/A | RADIO | OB-gate | oban gate not closing | M10M11 | reset gates manually | STAFF | CLOSE
| N | RESIDENT | 21W003496 | FAMIS | OBAN-128 | no power in unit | M10M11 | checked breakers confirmed power was restored | RESIDENT | CLOSE
| N | RESIDENT | 21W003512 | FAMIS | OBAN-60 | no power in unit | M10M11 | checked breakers confirmed power was restored | RESIDENT | CLOSE
| N | RESIDENT | 21W003502 | FAMIS | FK-14B | no power in unit loud beeping outside | M10M11 | checked breakers reset ac power | RESIDENT | CLOSE
| N | RESIDENT | 21W003505 | FAMIS | FK-13F | no power in unit | M10M11 | checked breakers reset ac power | RESIDENT | CLOSE
| N | RESIDENT | 21W003480 | FAMIS | BBV-206 | pipes leaking under bathroom sink | M10M11 | unclogged sink tightened ptrap assembly | RESIDENT | CLOSE
| Y | RESIDENT | 21W003514 | FAMIS | FK 4H- | ac not running after power outage | M10M11 | resident did not give access | FOLLOW-UP | OPEN
| N | RESIDENT | 21W003515 | FAMIS | FK 2N | ac not running after power outage | M10M11 | hard reset thermostat and breakers system kicked on started to work normally | RESIDENT | CLOSE
| Y | RESIDENT | 21W003516 | FAMIS | FK 18A | ac not running after power outage | M10M11 | thermostat was not responding-reset breaker the fan will come on and not the unit outside-turned slider door alarm off to vent the unit for the resident | FOLLOW-UP | OPEN
| N | RESIDENT | 21W003517 | FAMIS | FK 2F | ac not running after power outage | M10M11 | hard reset thermostat and breakers system kicked on started to work normally | RESIDENT | CLOSE
| N | RESIDENT | 21W003518 | FAMIS | FK 2E | ac not running after power outage | M10M11 | hard reset thermostat and breakers system kicked on started to work normally | RESIDENT | CLOSE