## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-09-01 | n | BM1 | n/a | radio | OB-131 | secure unit | M10M11 | locked and secured | staff | close
| n | BM1 | n/a | radio | OB-135 | secure unit | M10M11 | locked and secured | staff | close
| n | BM1 | n/a | radio | FK-Garage 21-22 | secure carpet storage | M10M11 | locked and secured | staff | close
| n | BM1 | 21W003742 | famis | GM-F406 | ac is not cooling | M10M11 | checked lines cleaned inlet line screen-tstat was in fan mode switched and set to temp unit is cooling | staff | close
| n | BM1 | 21W003743 | famis | GM-F406 | cd sink draining slow | M10M11 | unclogged stopper was jammed | staff | close
| n | ext-maint | 21W003744 | famis | GM-D100-TR | pole light outside GMD entry and trash room | M10M11 | retro fit pole lamp removed ballast and transformer installed LED light | staff | close
| n | ext-maint | 21W003745 | famis | GM-C-GROUN | pole lamp outside public restroom | M10M11 | retro fit pole lamp removed ballast and transformer installed LED light | staff | close
| n | ext-maint | 21W003746 | famis | GM-A-GROUN | pole lamp outside GMA laundry room is out | M10M11 | retro fit pole lamp removed ballast and transformer installed LED light | staff | close
| n | ext-maint | 21W003747 | famis | GM-A100-TR | pole lamp outside GMA entry | M10M11 | retro fit pole lamp removed ballast and transformer installed LED light | staff | close
| n | ext-maint | 21W003748 | famis | GM-A-GROUN | pole lamp outside trash room GMA | M10M11 | retro fit pole lamp removed ballast and transformer installed LED light | staff | close