## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-09-03 | n | BM1 | n/a | radio | PL-57 | lock up | M10M11 | secured unit | staff | close
| n | BM1 | n/a | radio | PL-14 | lock up | M10M11 | secured unit | staff | close
| n | BM1 | n/a | radio | GME-304d | walk unit | M10M11 | walked unit-for move in | staff | close
| n | BM1 | n/a | radio | GME-402d | walk unit | M10M11 | walked unit-for move in | staff | close
| n | BM1 | n/a | radio | GMG-111c | walk unit | M10M11 | walked unit-for move in | staff | close
| n | resident | 21W003865 | famis | BB-A302 | bathroom sink not draining | M10M11 | unclogged ptrap assembly | staff | close
| Y | ext-maint | 21W003914 | famis | FA-GROUNDS | 1 lamppost by building 8, unit D and H 1 lamppost by building 5 unit E | M10M11 | lights are out in this line-checked breakers | follow-up | open
| n | ext-maint | 21W003916 | famis | BB-L-GROUN | shut down water fountain | M10M11 | shut off valve removed handle | staff | close
| n | ext-maint | 21W003917 | famis | FA-20-POOL | lights around pool are out | M10M11 | turned on exterior light timer | staff | close
| n | ext-maint | 21W003918 | famis | GM-A-GROUN | pole lamp by GMA-emergency stairway and soccer field | M10M11 | retro fit pole lamp installed LED light | staff | close
| n | ext-maint | 21W003919 | famis | GM-A-GROUN | pole lamp by GMA-and bus turnout | M10M11 | retro fit pole lamp installed LED light | staff | close
| n | ext-maint | 21W003920 | famis | GM-A-GROUN | pole lamp by GMA-and aberdeen way | M10M11 | retro fit pole lamp installed LED light | staff | close
| n | ext-maint | 21W003921 | famis | GM-A-GROUN | pole lamp by GMA-and aberdeen way | M10M11 | retro fit pole lamp installed LED light | staff | close
| n | ext-maint | 21W003922 | famis | PH-Q-GROUND | ceiling light above mailboxes is out | M10M11 | replaced t12 lamp | staff | close