## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-09-05 | Y | resident | 21W003953 | famis | FK-15B | ac is not working in the unit | M10M11 | replaced filter-reset tsat,repalced fuses on the condenser-still not working | follow-up | open
| n | BM1 | n/a | radio | FK-15B | temp hvac unit needed | M10M11 | installed in living room | resident | close
| n | central plany | n/a | radio | FK-15B | unit has no power | M10M11 | reset breaker | resident | close
| n | ext-maint | 21W003990 | famis | FK-15B | front door lock | M10M11 | lubed lock was sticking | resident | close
| n | ext-maint | 21W003994 | famis | FA-07-GROU | qucik disconnect was off the ac unit by 7D | M10M11 | installed connection condenser started to run | staff | close
| n | ext-maint | 21W003995 | famis | PH-D-GROUN | light out by elevator walkaway | M10M11 | replaced lamp | staff | close
| n | ext-maint | 21W003996 | famis | GM-F106 BR | door not secure | M10M11 | released panix bar latch was not catching | staff | close
| Y | ext-maint | 21W003989 | famis | GMG-501 | shower hose ripped | M10M11 | resident in bathroom | follow-up | open
| Y | central plant | n/a | ext phone | FK-15B | power keeps going out- | M10M11 | third time we went back to reset breaker we had to leave temp unit unplugged overloaded circuit | follow-up | open
| n | ext-maint | 21W003991 | famis | PH-A-GROUN | walkway pole lamp | M10M11 | retro fit pole lamp removed ballast and transformer installed LED light | staff | close
| n | ext-maint | 21W003992 | famis | PH-E-GROUN | walkway pole lamp | M10M11 | retro fit pole lamp removed ballast and transformer installed LED light | staff | close
| n | ext-maint | 21W003993 | famis | PH-E-GROUN | walkway pole lamp | M10M11 | retro fit pole lamp removed ballast and transformer installed LED light | staff | close