## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-09-10 | Y | resident | 21W004251 | famis | FK-3A | Leaking water value under the kitchen sink is dripping water. Water damage to the wood below | M10 | hot water angle stop kitchen faucet shut off to stop leaking-need shutdown to replace | follow-up | open
| Y | ext-maint | n/a | staff | PHI- | all pole lights behind pentland I are out and walkway to AI-glasgow | M10 | please confirm if the timer is out or if power is being worked on lighting was on before | follow-up | open
| n | rso- | n/a | radio | OB-93 | fire alarm | M10 | alarm due to burnt food on the stove | resident | close
| n | resident | 21W004253 | famis | LO-D415 | Temperature/AC case is falling off | M10 | tightened case and cover | resident | close
| n | resident | 21W004254 | famis | LO-D415 | Window is unable to open | M10 | handle was stuck instructed resident how to open window properly | resident | close
| n | ext-maint | 21W004258 | famis | GM-L323 EL | hallway light out | M10 | replaced lamp | staff | close
| n | ext-maint | 21W004259 | famis | GM-F101 TR | exterior light out over trash room doors | M10 | replaced lamp | staff | close
| n | ext-maint | 21W004260 | famis | GM-M128 TR | light out by trash room | M10 | replaced lamp | staff | close
| n | resident | 21W004237 | famis | GM-L309 | Our garbage disposal is broken. When we try to turn it on it doesn't make any noise. When we turn on the faucet sometimes the water overflows.. maybe there's a clog | M10 | unclogged disposal removed debris,unclogged ptrap drain assembly | door tag | close