## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-08-20 | n | staff | 21W004778 | famis | BB-B103-ME | Men's room sink appears to be clogged. Water not draining | M10M11 | augered toilet unclogged | staff | close
| n | ext-maint | 21W004787 | famis | BB-B102-WO | left stall in restroom clogged | M10M11 | augered toilet unclogged | staff | close
| n | resident | 21W004779 | famis | GM-I203 | stove burners uneven and not working | M10M11 | level and adjusted burners | resident | close
| n | ext-maint | 21W004786 | famis | GM-I209 | hallway ceiling light out exterior | M10M11 | replaced t8 lamps | staff | close
| n | resident | 21W004780 | famis | OB-076 | no power in half of the home | M10M11 | reset breaker confirmed power was working | resident | close
| Y | resident | 21W004777 | famis | OB-059 | ceiling has a previous leak in the bathroom needs repairs | M10M11 | discoloration in the ceiling | follow-up | open
| n | ext-maint | 21W004785 | famis | GM-I221 TR | hallway ceiling light out exterior | M10M11 | replaced t8 lamps | staff | close
| n | ext-maint | 21W004784 | famis | FA-01C-KIT | This morning a work order was sent to fix my thermostat because I could not turn on the AC. Later on the AC turns on by its own, but I do not have control on the thermostat to turn it on and off. No one will be home, so no need to knock | M10M11 | reset thermostat checked system is running-tsat was stuck in lock program mode since power outage | door tag | close
| n | resident | 21W004776 | famis | FA-01C-KIT | disposal jammed | M10M11 | reset and unclogged disposal | door tag | close
| n | ext-maint | n/a | ext-maint | Plaza C building | walkway light out | M10M11 | replaced light | staff | close
| n | ext-maint | n/a | ext-maint | Plaza E building | 2 walkway lights out | M10M11 | replaced lights | staff | close