## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-09-23 | n | BM1 | n/a | radio | 5A | lock up | M10M11 | secured unit | staff | close
| n | BM1 | n/a | radio | 12C | lock up | M10M11 | secured unit | staff | close
| Y | staff | 21W005016 | famis | OB-pool house | Lights that surround the perimeter of the Oban pool are out. More specifically the lights in front of Oban 111/112 | M10M11 | pole lights closest to the unit no power | follow-up | open
| n | Cust-supervisor | n/a | ext-phone | CDC-S | terminix needs acces to attic in staff break room | M10M11 | opened attic hatch for the vendor to inspect for activity | staff | close
| n | resident | 21W004896 | famis | FA-01A-B B | smoke detector in the bedroom beeping | M10M11 | replaced detector in bedroom | resident | close
| n | resident | 21W005025 | famis | FA-01A-B B | lights over the vanity mirror are out | M10M11 | replaced three vanity lights | resident | close
| n | BM1 | 21W005026 | famis | FA-06R | hvac not working | M10M11 | reset locked thermostat rean ac now working | staff | close
| n | BM1 | 21W005027 | famis | FA-06E | repair closet doors | M10M11 | rehung closet doors back on track | staff | close
| n | BM1 | 21W005028 | famis | FA-06E | missing blind slats | M10M11 | replaced missing slats | staff | close
| n | BM1 | 21W005029 | famis | FA-06Q | missing blind slats | M10M11 | replaced missing slats | staff | close
| n | BM1 | 21W005030 | famis | FA-17C-KIT | dishwasher drain clogged | M10M11 | unclogged drainline | staff | close
| n | BM1 | 21W005031 | famis | FA-17C-KIT | disposal clogged | M10M11 | reset disposal tigthened leaking two aprt waste and ptrap | staff | close
| n | BM1 | 21W005032 | famis | FA-19C | missing blind slats | M10M11 | replaced missing slats | staff | close
| n | BM1 | 21W005033 | famis | FA-19C | hvac not working | M10M11 | thermostat was showing no display-replaced thermostat hvac is working | staff | close