## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-09-25 | Y | resident | 21W005229 | famis | BB-R105 | The air conditioning unit above the bathroom leaks (dripping every so often on the laminate) even when the unit is off | M10M11 | send to ac shop to inspect ac leak | follow-up | open
| Y | resident | 21W005208 | famis | BB-R105 | stove is not turning off | M10M11 | replaced daulty knob with parts available needs a follow up to install correct knob | follow-up | open
| n | resident | 21W005206 | famis | BB-A313 | toilet handle broken | M10M11 | handle was working found it to be working checked | resident | close
| n | resident | 21W005205 | famis | BB-E301 | broken cabinet door | M10M11 | secure hinge repaired cabinet | resident | close
| y | central plant | n/a | ext-phone | OBAN- | fire panel not resetting | M10M11 | fire panel was note resetting-called alarm tech curtis to address swining alarm trbl issue | follow-up | open
| n | resident | 21W005225 | famis | FA-01C-KIT | disposal clogged | M10M11 | reset unclogged disposal removed debris | resident | close
| n | resident | 21W005184 | famis | FA-14C-KIT | Fire alarm is beeping | M10M11 | replaced bedrom smoke detector | resident | close
| n | resident | 21W005220 | famis | FA-14C-KIT | Ac is locked so we cant change the temperature | M10M11 | reset unclocked thermostat ac is now working | resident | close
| n | resident | 21W005204 | famis | GM-F202 | ac is not running | M10M11 | thermostat was in fan mode/flushed and cleaned inlet water line screen set tstat explained to resident how to use | resident | close
| n | resident | 21W005188 | famis | GM-F407 | ac doesn’t turn on | M10M11 | thermostat was in fan mode/flushed and cleaned inlet water line screen set tstat | door tag | close
| n | resident | 21W005213 | famis | GM-F302 | ac doesn’t turn on | M10M11 | thermostat was in fan mode/flushed and cleaned inlet water line screen set tstat explained to resident how to use | resident | close
| n | resident | 21W005222 | famis | GM-L307 | The kitchen sink is clogged | M10M11 | drainline backed up had to sanked drainline to clear | resident | close
| Y | resident | 21W005233 | famis | GM-D305 | The stove in Glen Mor D305 won't turn off, the resident keeps trying to turn the knob and the stove stays on. Thank you for looking into this | M10M11 | front right burner control is jamming removed knob until control can be replaced | follow-up | open