## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-09-26 | n | central plant | n/a | ext-phone | LO- | emergency doors | M10M11 | shut down doors set auto doors in motion westlo-eastlo | staff | close
| n | resident | 21W005308 | famis | PL-44 | replace ac filter | M10M11 | new ac filter- in unit | resident | close
| y | resident | 21W005273 | famis | PL-44 | hallway bathroom shower leaking | M10M11 | need to replace valve fixture | follow-up | open
| n | resident | 21W005307 | famis | GM-L307 | cd sink drianing slow | M10M11 | unclogged pop assembly | resident | close
| n | resident | 21W005291 | famis | GM-L307 | shower head is not working | M10M11 | replaced showerhead | resident | close
| n | resident | 21W005284 | famis | GM-B102 | toilet running | M10M11 | adjusted flapper | vacant unit | close
| n | resident | 21W005276 | famis | GM-F310 | ac is not working | M10M11 | ac is runnin unit temp was at 73 | resident | close
| n | resident | 21W005277 | famis | GM-F310 | tub stopper missing in bathroom | M10M11 | unit does not have a stopper its ada-shower | resident | close
| n | resident | 21W005287 | famis | GM-B201 | toilet not flushing | M10M11 | inspected toilet adjusted fill valve | resident | close
| n | resident | 21W005286 | famis | GM-B201 | toilet is making noises and running | M10M11 | inspected toilet adjusted fill valve | resident | close
| n | resident | 21W005290 | famis | GM-F606 | ac is not working | M10M11 | thermostat in fan mode-cleaned supply line screen set system is working | resident | close
| n | resident | 21W005298 | famis | FA-11A | ac is not working | M10M11 | reset tsat unlocked set confirmed unit is working | resident | close
| n | resident | 21W005267 | famis | FA-01E-KIT | ac is not working | M10M11 | reset tsat unlocked set confirmed unit is working | resident | close