## Sheet1
EXTENDED SHIFT REPORT
Date | Follow up needed Y/N | Requestor | TMA Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-09-28 | y | resident | 21W005466 | Famis | FA9P | leak above shower | M-11 | follow up, condensation line needs to be cleared | resident | open
| n | Steam plant | 21W005477 | phone call | BB-Q101 | toilet and shower overflowing and flooding unit | M-11 | pulled toilet to snake drain line until it finally cleared. Custodial had to stay late to extract and disinfect area | resident | closed
| y | M-1 | 21W005016 | Radio | OBAN POOL | check pole lights around pool to see if they were repaired | M-11 | checked lights still no power | M-1 | open
| n | resident | 21W005482 | Famis | GM-F509 | kitchen sink clogged | M-11 | snaked drain line to clear | resident | closed
| n | resident | 21W005489 | Famis | BB-H304 | fork fell down drain | M-11 | removed P-Trap to get fork out of drain | resident | closed