## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-09-30 | Y | staff | 21W005742 | famis | GMI- | NO HOT WATER | M10M11 | attempted to reset boiler several times wouldn’t reset-float switch error code | follow-up | open
| Y | resident | 21W005749 | famis | GMI-310 | The lock on the apartment main door is very difficult to open with my key | M10M11 | resident having trouble with there key found no issue with gm keys | follow-up | open
| n | resident | 21W005737 | famis | BB-O101 | light is hallway is out | M10M11 | light was working reset breaker | resident | close
| n | resident | 21W005738 | famis | BB-O101 | stove is not working | M10M11 | reset breaker | resident | close
| n | resident | 21W005718 | famis | FA-06C | shower clogged | M10M11 | removed clog from shower cleared drain | resident | close
| n | resident | 21W005756 | famis | FA-06C-BAT | sink draining slow | M10M11 | unclogged pop up assembly | resident | close
| n | resident | 21W005757 | famis | FA-06C | front door is jamming | M10M11 | adjusted frame was able to relief and door is able to open better | resident | close
| n | resident | 21W005711 | famis | GM-L208 | key stuck in lock | M10M11 | lubed lock removed key | resident | close
| n | resident | 21W005755 | famis | GM-I310 | hallway light fixture cover fell | M10M11 | installed fixture cover | resident | close
| n | resident | 21W005736 | famis | GM-F402 | kitchen sink clogged | M10M11 | unclogged disposal | resident | close
| n | resident | 21W005700 | famis | GM-I310 | ab toilet is not flushing | M10M11 | augered toilet | resident | close
| n | resident | 21W005710 | famis | GM-F509 | kitchen sink clogged | M10M11 | snaked drainline-custodial cleaned overflow of back up | resident | close
| n | resident | 21W005759 | famis | OB-132 | resident locked in bathroom | M10M11 | unlocked privacy knob | resident | close
| n | resident | 21W005758 | famis | PH-A107-TR | resident dropped keys in trash chute | M10M11 | found keys returned to resident | resident | close
| n | staff | 21W002659 | famis | CDC-N1204 | assemble book shelves 7 total | M10M11 | there were only 4 total bookshelfs to assemble completed | staff | close
| n | staff | 21W004234 | famis | CDC-N1231 | The washers spin cycle is not removing all the water leaving clothes soaked. The dryer is not drying properly and leaving clothes wet or damp | M10M11 | ran both and cycles found no issues with the washer dryer | staff | close