## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-10-04 | n | resident | 21W005993 | famis | GM-F509 | ac is not working | M10M11 | checked and cleaned supply line screen system is working again | resident | close
| n | resident | 21W005994 | famis | GM-F202 | ac is not working | M10M11 | checked and cleaned supply line screen system is working again | resident | close
| n | resident | 21W006002 | famis | GM-F201 | ac is not working | M10M11 | checked and cleaned supply line screen system is working again | resident | close
| n | resident | 21W006004 | famis | LO-B423-B4 | leaking under bathroom sink | M10M11 | tightened angle stop | staff | close
| n | resident | 21W006007 | famis | GM-F606 | ac is not working | M10M11 | checked and cleaned supply line screen system is working again | resident | close
| n | resident | 21W006010 | famis | GM-F608 | shower head had no pressure | M10M11 | replaced tub spout and shower head | resident | close
| n | resident | 21W006035 | famis | GM-F608 | ac is not working | M10M11 | checked and cleaned supply line screen system is working again | resident | close
| n | resident | 21W006016 | famis | GM-F410 | toilet backed up and flooded bathroom | M10M11 | augered toilet unclogged-called custodial to clean flooded area | resident | close
| Y | staff | 21W006005 | famis | LO-A104 | Main door of the women's restroom///Lock problems. This morning, a resident went to use the restroom, and was then locked inside. Maintenance had to be called to let the resident out. There is very likely an issue with the lock, which somehow locked the door in place when the resident shut it behind them. Mechanism on the inside of the door possibly swung into locked position upon door shut | M10M11 | the lock needs to be disabled so you cannot lock from the inside | follow-up | open
| n | resident | 21W006034 | famis | BB-Q101 | Shower plugged up and slowly filling up with dirty water. Toilet is also leaking at the bottom | M10M11 | snaked mainline-cleaned water around bathroom | resident | close
| n | resident | 21W006042 | famis | GMA-402 | stove made a loud pop and now the microwave and stove don't work | M10M11 | replaced temature control valve and reset breaker | resident | close
| n | resident | n/a | resident | LO-E300 | resident locked herself out of the hall | M10M11 | resident had her room key to verify she lived there so I opened the hall door for her | resident | close
| n | resident | 21W006050 | famis | LO-F424 | my room door will not latch anyone can just push it open | M10M11 | repaired door latch to secure door | resident | close