## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-10-07 | Y | resident | 21W006348 | famis | GM-I501 | no hot water | M10-M11 | reset boiler on the roof throughout the night-unit was shutting off after working for an 1-2 hours reset 4 times | follow-up | OPEN
| n | staff | 21W006291 | famis | CDC-1121 | faucets are tight and hard to open | M10-M11 | found no issue on sink handles all were working and not leaking | staff | close
| n | staff | 21W006264 | famis | CDCN-electrical | Parking lot outside of Child development North building lights are sporadic. Sometime they stay on till 12am other nights they shut of around 9pm. | M10-M11 | inspected timer is set to turn on at 6pm and shut off at 7am | staff | close
| n | resident | 21W006347 | famis | PL-A-12 | shower is draining slow | M10-M11 | unclogged shower removed clog | resident | close
| n | resident | 21W006331 | famis | PH-A238-SH | shower is leaking | M10-M11 | tightened shower head hose and holder | resident | close
| n | resident | 21W006354 | famis | OB-029 | diposal is not working | M10-M11 | reset disposal | door tag | close
| n | resident | 21W006356 | famis | LO-A402-TE | ***OUTSIDE OF A4 NEAR ELEVATOR****** Window to balcony of A4 exterior hall door has been unscrewed and is open. Safety hazard | M10-M11 | secured door by elevator landing | staff | close
| n | resident | 21W006332 | famis | GM-M506 | ac is not cooling | M10-M11 | cleaned supply line screen unit is working | resident | close
| n | resident | 21W006306 | famis | GM-I105 | kitchen sink is flooding and overflowing | M10-M11 | snaked kitchen drainline in GMI-205 custodial cleaned flooded area | resident | close
| n | resident | 21W006309 | famis | GM-M610 | ac is not cooling | M10-M11 | tsat was set incorrectly on Fan mode-informed resident system is working | resident | close
| n | resident | 21W006357 | famis | GM-I501 | ab bathroom sink draining slow | M10-M11 | unclogged pop up assembly | resident | close
| n | resident | 21W006344 | famis | BBV-314 | sink is clogged | M10-M11 | unclogged kitchen drainline | resident | close
| n | resident | 21W006327 | famis | GM-M505 | The AC is not functioning properly again | M10-M11 | tsat was set incorrectly on Fan mode-informed resident system is working | resident | close