## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-10-10 | n | staff | 21W006531 | famis | GM-F409 | kitchen sink backed up and flooded kitchen/dining room vacant unit reported by housekeeping | M10 | snaked drainline,cleared line | staff | close
| y | resident | 21W006526 | famis | GM-M402 | cd restroom ceiling is leaking | M10 | found no leaks,upstairs unit is vacant found nothing running or leaking | follow-up | open
| n | resident | 21W006530 | famis | GM-M402 | ac is not working | M10 | tstat was set in fan mode set correctly system is working | resident | close
| n | resident | 21W006527 | famis | GM-F606 | trash chute is not working | M10 | reset breaker for the compressor drained the compressor,belt came off the wheel installed belt back on compressor checked all chutes all were working | resident | close
| n | resident | 21W006508 | famis | GM-M504 | ac is not working | M10 | cleaned supply line screens,set system is working | resident | close
| n | resident | 21W006525 | famis | FA-14A-B B | bathroom sink is not draining | M10 | unclogged ptrap assembly | resident | close
| n | resident | 21W006522 | famis | FA-08F-KIT | disposal is nor working kitchen sink is not draining | M10 | disposal was running and sink is draining | resident | close
| n | resident | 21W006523 | famis | BB-A313 | hallway light out | M10 | replaced light | resident | close
| n | resident | 21W006524 | famis | PH-A217-TO | toilet clogged | M10 | augered toilet | resident | close
| n | resident | 21W006528 | famis | OB-088 | bathroom left side by the kitchen leak under the sink | M10 | unclogged condensation drainline was leaking out of pvc tee under sink | resident | close
| n | resident | 21W006532 | famis | OB-088 | bathroom on right side sink draining slow | M10 | unclogged pop up assembly | resident | close