## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-10-11 | n | staff | 21W006543 | famis | LO-A100 | trash chutes are jammed | M10M11 | chute was jammed unjammed from trash and debris in basement | staff | close
| n | resident | 21W006541 | famis | PL-D-44 | ac is not working | M10M11 | condenser and system is working-resident has fan switch turned off/turned on ac is working | resident | close
| n | resident | 21W006548 | famis | BB-P101 | outlet behind fridge is not working | M10M11 | reset breaker | resident | close
| n | resident | 21W006547 | famis | BB-G201 | stove burner is not turning off | M10M11 | switch for the burner was in the wrong position to shut off | resident | close
| n | resident | 21W006545 | famis | GM-M404 | toilet is running making noise all day | M10M11 | repaired toilet fill valve | resident | close
| y | staff | 21W006534 | famis | BB-J102-CO | parts of the ceiling tiles in J 102 had fallen off due to water damage. Only one tile appears to have a hole in it and the other tiles have dried stains from previous water damage. Hvac was leaking | M10M11 | shut off ac-needs to be inspected and two damaged ceiling tiles and carpet cleaning | follow-up | open
| n | resident | 21W006529 | famis | FA-11N | ac is not working | M10M11 | reset tsat,checked the condenser and system is working | door tag | close
| n | resident | 21W006540 | famis | BB-V202 | bathroom door locked cannot get access | M10M11 | inspected both bedroom doors and bathroom locks were open | resident | close
| y | resident | 21W006542 | famis | BB-V202 | Mushrooms/fungus growing through floors carpet. | M10M11 | found no leaks,area was very dirty where they have the issue/called housekeeping to clean carpet | follow-up | open
| y | resident | 21W006550 | famis | FA-1J | clogged bathroom sink | M10M11 | resident would not open door | follow-up | open