## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-10-15 | n | resident | 21W006882 | famis | PH-C210-SU | faucet leaking | M10-M11 | replaced faucet seat and springs | resident | close
| n | resident | 21W006889 | famis | PH-C216-TO | bathroom sink leaking | M10-M11 | tigthened ptrap drain | resident | close
| n | ext-maint | 21W006887 | famis | GM-M128 TR | hallway light out | M10-M11 | replaced corridor light | staff | close
| n | ext-maint | 21W006888 | famis | GM-M226-TE | hallway light out | M10-M11 | replaced corridor light | staff | close
| n | ext-maint | 21W006890 | famis | PH-I-GROUN | pole light ebhind PHI-by trash room | M10-M11 | retro fit pole lamp with LED-removed transformer and ballast direct wired | staff | close
| n | ext-maint | 21W006891 | famis | PH-I-GROUN | pole light ebhind PHI-by trash room | M10-M11 | retro fit pole lamp with LED-removed transformer and ballast direct wired | staff | close
| n | ext-maint | 21W006892 | famis | PH-J-GROUN | pole light in front of PHJ- | M10-M11 | retro fit pole lamp with LED-removed transformer and ballast direct wired | staff | close
| n | ext-maint | 21W006893 | famis | PH-K-GROUN | pole light behind PHK- | M10-M11 | retro fit pole lamp with LED-removed transformer and ballast direct wired-replaced broken lense | staff | close
| n | ext-maint | 21W006894 | famis | PH-K-GROUN | pole light behind PHK- | M10-M11 | retro fit pole lamp with LED-removed transformer and ballast direct wired-replaced broken lense | staff | close
| n | ext-maint | 21W006895 | famis | PH-L-GROUN | pole light between glasgow and PHL | M10-M11 | retro fit pole lamp with LED-removed transformer and ballast direct wired-replaced broken lense | staff | close
| n | ext-maint | 21W006896 | famis | PH-L-GROUN | pole light between parking lot and PHL | M10-M11 | retro fit pole lamp with LED-removed transformer and ballast direct wired-replaced broken lense | staff | close
| n | ext-maint | 21W006897 | famis | PH-L-GROUN | pole light behind PHL rear lounge access | M10-M11 | retro fit pole lamp with LED-removed transformer and ballast direct wired-replaced broken lense | staff | close