## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-10-17 | n | resident | 21W006966 | famis | GM-A302 | kitchen sink is backed up with black water | M10 | snaked the drainline repeatedly to clear clog in mainline | resident | close
| n | resident | 21W006965 | famis | LO-B401-TE | The card access pad to entrance of the Lothian B4 hall is broken, cracked plastic | M10 | small crack on reader,the reader is working covers cracked area with electrical tape | resident | close
| n | resident | 21W006962 | famis | FA-05A-KIT | light out in living room | M10 | all lights are working | vacant unit | close
| n | resident | 21W006978 | famis | FA-05B-BAT | sink is clogged | M10 | bathroom sink unclogge pop up assembly | resident | close
| n | resident | 21W006963 | famis | FA-05B-BAT | light out in bathroom | M10 | found no light out in toilet room is working | resident | close
| n | resident | 21W006968 | famis | FA-05K-BAT | toilet is running and flushed by itself | M10 | replaced handle and flapper | resident | close
| n | resident | 21W006972 | famis | FA-05K-BAT | shower is clogged | M10 | unclogged cleared drain removed clog | resident | close
| n | resident | 21W006977 | famis | GM-L406 | shower is clogged | M10 | unclogged cleared drain removed clog | resident | close
| n | resident | 21W006973 | famis | GM-L406 | when we use the shower head, the water pressure is not strong. Possibly because there is still water coming from the faucet/bat | M10 | replaced tub spout/diverter | resident | close
| Y | resident | 21W006974 | famis | GM-L406 | cracked microwave door | M10 | door has a small crack unable to find a door to replace with | follow-up | close