## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-10-19 | n | resident | 21W007074 | Famis | PL-D-45 | leak from back of toilet | M-11 | repaired toilet tank | resident | closed
| n | resident | 21W007074 | Famis | PL-D-45 | shower won't stop dripping | M-11 | shut off water and replaced mixit valve | resident | closed
| n | resident | 21W007078 | Famis | GM-I510 | washer machine not secured | M-11 | secured dish washer to counter | resident | closed
| n | resident | 21S006611 | Famis | GM-D206 | window will not close | M-11 | repaired window | resident | closed
| y | resident | 21W007079 | Famis | FA-15A | A/C will not cool fan is on but no cool air coming out | M-11 | follow up, breakers for A/C unit keep tripping | follow up | open
| y | es maint | n/a | es maint | FA POOL | turn pool lights on | M-11 | follow up, pool light timer keeps getting jammed | follow up | open
| n | es maint | n/a | es maint | FA | pole light outside 13 building out | M-11 | replaced bulb | es maint | closed
| n | es maint | n/a | es maint | FA | pole light outside 8 building out | M-11 | replaced bulb | es maint | closed