## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-10-21 | n | staff | n/a | radio | OB-69 | fire alarm | M10M11 | cause of alarm-burnt food | staff/resident | close
| n | bm1 | n/a | radio | GMG-101 | pre-inspection | M10M11 | completed inspection paperwork | staff | close
| n | bm1 | n/a | radio | GMG-408 | pre-inspection | M10M11 | completed inspection paperwork | staff | close
| n | bm1 | n/a | radio | GMG-501 | pre-inspection | M10M11 | completed inspection paperwork | staff | close
| n | bm1 | n/a | radio | GMF-604 | pre-inspection | M10M11 | completed inspection paperwork | staff | close
| n | bm1 | n/a | radio | GMM-212 | pre-inspection | M10M11 | completed inspection paperwork | staff | close
| n | bm1 | n/a | radio | GMM-501 | pre-inspection | M10M11 | completed inspection paperwork | staff | close
| n | staff | n/a | radio | OB-69 | fire alarm | M10M11 | excessive smoke due to cooking-2nd time alarm was triggered | staff/resident | close
| n | resident | 21W007216 | famis | GMM-608 | toilet is clogged | M10M11 | augered toilet unclogged | resident | close
| n | resident | 21W007224 | famis | GMM-608 | bathroom sink is not draining | M10M11 | pop was jammed cleared line | resident | close
| y | resident | 21W007217 | famis | GMM-608 | Air conditioning doesn't seem to be working, the air is not as cold as we wish it to be | M10M11 | tstat was not set correctly unit was not running inside temp was 74 | follow-up | open
| n | resident | 21W007221 | famis | GMA-207 | kitchen sink backed up | M10M11 | snaked kitchen mainline | resident | close
| n | resident | 21W007222 | famis | GMA-207 | clean up of area from sink clog backup | M10M11 | cleaned sink area from back up | resident | close
| n | resident | 21W007208 | famis | GMF-509 | toilet clogged cd side | M10M11 | augered toilet removed wipes from the drain | resident | close