## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-10-27 | n | M-1 | n/a | M-1 | OB 93 | fridge makes noise | M-11 | checked fridge everything running fine | resident | closed
| n | GM staff | 21S007069 | Famis | GM market | toilet clogged | M-11 | unclogged toilet | staff | closed
| n | es maint | n/a | es maint | GM market | check sinks and toilet for the opening | M-11 | made sure toilets and sinks were clear | staff | closed
| y | resident | 21W007584 | Famis | PL-25 | someone replaced out dishwasher today and had to shut off the water, now our water preasure is low and anytime someones turns on there sink out kitchen faucet drips | M-11 | follow up, gate valve let go and just spins. I was able to get it to open enough to raise the water preasure, also cleared aerators. Gate valve will need to be replaced. | resident | closed
| n | resident | 21W007587 | Famis | GMD-105 | toilet clogged | M-11 | unclogged toilet | resident | closed
| n | resident | n/a | resident | GMD-105 | sink drains slow | M-11 | cleared drain line | resident | closed
| n | resident | 21W007591 | resident | BB-I305 | no power in my unit | M-11 | re-set breaker | resident | closed
| n | central plant | 21W007595 | phone call | BB-C201 | smoke detector keeps beeping | M-11 | replaced battery | resident | closed
| n | resident | 21S007081 | Famis | OB-OBAN-PARKING LOT | man gate on lindin by stop light not closing | M-11 | checked gate everything working fine | resident | closed
| n | es maint | n/a | es maint | FA pool | turn on pool lights | M-11 | turned on lights | es maint | closed