## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-10-29 | n | staff | 21W007748 | famis | CDC-N 1212 | hang boards outside room | M10M11 | installed boards over marked area | staff | close
| n | staff | 21W007284 | famis | CDC-N 1217 | hang boards outside room | M10M11 | installed boards over marked area | staff | close
| n | resident | 21W007769 | famis | GM-A304 | toilet running | M10M11 | adjusted fill valve | resident | close
| y | resident | 21W007755 | famis | GM-A304 | Resident called saying that his bathroom ceiling was leaking. Unsure what is causing the leakage. | M10M11 | ceiling over shower dripping-inspected GMA-404 found no leaks possible waste line crack | follow-up | open
| n | resident | 21W007756 | famis | GM-L206 | Water rising up from garbage disposal pipe in the kitchen sink | M10M11 | snaked kitchen drainline to unclog | resident | close
| n | resident | 21W007757 | famis | GM-L206 | Water pressure from shower head very low; when shower head is on, a lot of water runs out through bottom faucet | M10M11 | replaced tub spout | resident | close
| n | resident | 21W007759 | famis | OB-076 | a- bathroom sink cloged | M10M11 | unclogged pop up aasembly | resident | close
| n | resident | 21W007765 | famis | OB-076 | a-shower clogged | M10M11 | removed clog from drainline | resident | close
| n | resident | 21W007766 | famis | OB-076 | b-barthroom sink clogged | M10M11 | unclogge ptrap assembly removed hair ties and clips from drain | resident | close
| n | resident | 21W007767 | famis | OB-076 | b-shower clogged | M10M11 | removed clog from drainline | resident | close
| y | resident | 21W007762 | famis | FA-04E | disposal is not working | M10M11 | resident not available return AM | follow-up | open
| n | resident | 21W007763 | famis | OB-068 | clogged shower | M10M11 | removed clog from drainline | resident | close
| n | resident | 21W007764 | famis | LO-F414-IR | sink faucet is not working | M10M11 | reset sensor sink is working | staff | close
| n | staff | 21W007768 | famis | FA-20-GROU | exterior lighting is out | M10M11 | turned on timer- exterior building and pool lights came on | staff | close