## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-11-03 | y | M-1 Troy | n/a | Phone call | LO west 2nd floor | hydration station overflowing flooding lounge fred going to repair tomorrow but keep an eye on it tonight | M-11 | custodial called me about 4:45 and residents had plugged the station back in and started flooding lounge again. Unplugged machine and taped off | follow up | open
| y | custodial | n/a | radio call | LO 3rd floor lounge | residents plugged machine back in and flooded lounge | M-11 | unplugged all lounge stations, 1-4th and taped off machines so no one uses them until they can be repaired tomorrow | follow up | open
| n | resident | 21W007996 | Famis | GML-106 | freezer handle broke off | M-11 | replaced handle | resident | closed
| n | resident | 21W007996 | Famis | GML-106 | Freezer is making a whirring noise. | M-11 | not sure what a "Whirring" noise means but I removed back panel and removed Ice around fan | resident | closed
| n | staff | 21W007942 | Famis | ECSN-1219 | broken outlet cover plate | M-11 | replaced cover plate | staff | closed
| y | Steam plant | 21W008002 | phone call | Oban car gate | car gate closest to canyon crest stuck open | M-11 | tried to close gate but we have no access to that it is all controled by Taps | follow up | open
| n | resident | 21W008001 | Famis | FA-1C | sink stopper not working | M-11 | removed old sink stopper that was installed wrong and replaced it with a new one | resident | closed
| y | M-1 Trent | n/a | phone call | ESC-N-1108 | washing machine not draining | M-11 | checked washing machine to make sure it was draining which it was but after talking to custodial its not a draining issue but a filling issue. Washer wont fill all the way it keeps starting and stopping | custodial | open
| n | es maint | n/a | es maint | LO west | check lounges to make sure no one plugged them back in and not flooding | M-11 | all clear for now follow up tomorrow | es maint | open
| y | LO rso | 21W008000 | radio call | LO A1 | touble alarm smoke detector not responding | M-11 | follow up | follow up | open