## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-11-05 | Y | staff | 21W008137 | famis | CDC-N 1131 | We need plexi glass to be mounted to the playground gate to prevent families from opening the gate door. (On the side of room 1131). The plexi glass is in the front lobby | M10M11 | unable to find plexiglass to install please place in lobby to install | follow-up | open
| n | staff | 21W008136 | famis | CDC-N | We have 3 white boards that we need mounted to the wall on the playground. The areas are marked with orange tape. We would like them mounted vertically. | M10M11 | mounted 3 white boards on marked areas | staff | close
| y | staff | 21W008116 | famis | CDC-N | CDC North building has 3 lights that are out on the front near the main entry & 3 lights on the side facing Watkins | M10M11 | need to order bulbs sent BM1-to order | follow-up | open
| n | resident | 21W008176 | famis | LO-F316-F3 | The disabled shower in the girls bathroom is broken, the poll holding it up was broken off. | M10M11 | rebuilt holder and secured | resident | close
| n | staff | 21W008182 | famis | LO-F316-F3 | clogged stall | M10M11 | unclogged toilet plunged | staff | close
| n | resident | 21W008179 | famis | BB-R306 | bathroom sink clogged | M10M11 | unclogged ptrap assembly | resident | close
| n | re | 21W008178 | famis | GM-I504 | toilet clogged | M10M11 | augered toilet adjusted fill valve | staff | close
| n | resident | 21W008181 | famis | GM-I504 | tub drainin slow | M10M11 | cleared drain removed clog | staff | close
| n | ext-maint | 21W008183 | famis | GM-D106 | hallway light out | M10M11 | replaced corridor hall light | staff | close
| n | ext-maint | 21W008184 | famis | GM-D308 | hallway light out | M10M11 | replaced corridor hall light | staff | close
| n | ext-maint | 21W008185 | famis | GM-D401 | hallway light out | M10M11 | replaced corridor hall light | staff | close
| n | ext-maint | 21W008186 | famis | GM-D204 | hallway light out | M10M11 | replaced corridor hall light | staff | close
| n | ext-maint | 21W008187 | famis | GM-E-GROUN | exterior sprinklers staying on | M10M11 | turned irrgation valves off and on sprinklers shut down | staff | close