## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-11-06 | n | staff | 21W008239 | famis | LO-C120 | The garbage disposal located at scullery dish room is not spinning. | M10 | checked disposal in skullery remove some debris but it was running | staff | close
| n | resident | 21W008240 | famis | GML-108 | The AC has not been been working for the past few days. It will be set to 68 or 70Â° and be 80Â° In the apartment. | M10 | cleaned supply line check valve screen-set temp instructed resident not to use tstat on fan mode system is working | resident | close
| n | resident | 21W008249 | famis | GML-108 | bathroom sink clogged | M10 | unclogged pop up assembly | resident | close
| n | resident | 21W008250 | famis | GML-108 | toilet running | M10 | adjusted chain and fill valve | resident | close
| Y | staff | n/a | ext-phone | Getaway-café | recent work on the roof swamp cooler-now the left exhaust fqan is not turning on | M10 | left exhaust motor is not running system has power is not kicking on | follow-up | open
| n | staff | n/a | ext-phone | Getaway-café | sink leaking | M10 | replaced ptrap | staff | close
| n | resident | 21W008248 | famis | GML-307 | Refrigerator does not work. | M10 | replaced evaporator coil motor | resident | close
| n | resident | 21W008251 | famis | GML-307 | disposal jammed | M10 | unclogged reset disposal | resident | close
| n | m10 | 21W008252 | famis | GML-302 | front door light out | M10 | replace t8 lamp | staff | close
| n | m10 | 21W008253 | famis | GML-308 | front door light out | M10 | replaced t8 lamp | staff | close
| n | m10 | 21W008254 | famis | GML-309 | front door light out | M10 | replace t8 lamp | staff | close