## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-11-12 | n | Resident | 21W008564 | Famis | FA-01M-A BATHROOM | clogged shower drain | M-11 | cleared drain line | resident | closed
| n | Resident | 21W008573 | Famis | GM-L402 | low water preasure in shower | M-11 | replaced shower head | resident | closed
| n | Tony | n/a | phone call | GMB-301 | shut windows in unit before you go home so unit can air out after tub reglaze | M-11 | closed unit up | tony | closed
| n | M-1 Troy | n/a | phone call | AVC | roof access left open | M-11 | checked both roof access hatches but they had already been closed | Troy | closed
| n | es maint | n/a | es maint | BB shop | shop door not closing | M-11 | took latch apart cleaned and repaired it and put everything back together | es maint | closed
| y | Resident | 21W008576 | Famis | OB-079 | serious leak on patio has gotten worse and is starting to get the carpet wet in the living room | M-11 | follow up, put a temp patch on hot water supply line checked shop for a new one but none in stock. Water needs to be shut down to replace supply line | follow up | open
| n | Resident | 21W008577 | Famis | OB-028 | water valve under kitchen sink is leaking | M-11 | tightened packing nut on angle stop | resident | closed
| n | Resident | 21W008577 | Famis | OB-028 | water preasure low in kitchen faucet | M-11 | resident has installed their own kitchen faucet that doesn't match ours so I can't replase the aereator | resident | closed
| n | Resident | 21W008578 | Famis | FA-06P | garbage disposal clogged | M-11 | removed sink stopper | resident | closed
| y | Steam plant | n/a | phone call | GM | sprinklers have been running all day in front of the RSO and between F and I buildings flooding area. | M-11 | walked around I and G turning off valves until I found the backflow behind G building. Sprinklers next to F were still running slightly but belive it was just the water draining out of the lines | follow up | open