## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-11-15 | n | resident | 21W008573 | Famis | GM-L402 | shower has no water preasure | M-11 | replaced C/D shower head | resident | closed
| n | resident | 21W008630 | Famis | PL-A-14 | shower water temp keeps changing | M-11 | replaced mixit valve | resident | closed
| n | resident | 21S008080 | Famis | GMA-407 | kitchen sink clogged and garbage disposal not working | M-11 | cleared drain line and plugged in garbage disposal | resident | closed
| n | resident | 21W008636 | Famis | PH-E210-SU | kitching sink backed up | M-11 | snaked drain line | resident | closed
| n | resident | 21W008629 | Famis | GM-L409 | dirt keeps coming out uf shower | M-11 | ran tub to clear out water line | resident | closed
| y | resident | 21W008641 | Famis | OB-65 | we put in a request on Friday for a leak and a couple guys came to look at it however when we returned home today the bathroom was flooded | M-11 | follow up cleaned up water looks to be from either the toilet or sink drain upstairs | follow up | open
| n | resident | 21W008642 | Famis | LO-A123-A1 | 3rd toilet from the door clogged | M-11 | looked like someone tried to flush a whole roll of toilet paper, cleared out drain line | resident | closed
| n | resident | 21W008643 | Famis | PH-F247-SH | shower drain clogged | M-11 | cleared drain line | resident | closed
| n | resident | 21W008644 | Famis | FA-02K-KIT | kitchen sink backed up on both sides | M-11 | removed P-Trap and cleared out all the Ajax powder soap and snaked dirty arm to clear drain line | resident | closed