## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-11-29 | y | resident | 21W009116 | Famis | OB-065 | leak inside bathroom wall again | M-11 | cut open the wall in unit 77 underneath the sink to expose leak, placed a patch on leak and cleaned up flooded bathroom. Water needs to be shut down to repair water line | follow up | open
| y | resident | 21W009112 | Famis | PL-B-19 | leak in bathroom ceiling from unit above | M-11 | checked bathroom on the right when you enter unit area was dry where exhaust fan is but you can tell where it had leaked before | follow up | open
| y | resident | 21W009111 | Famis | PL-A-15 | leak in water heater closet from unit above | M-11 | water heater tank upstairs is leaking and needs to be replaced, leak is not affecting inside unit 15 for now just in the closet | follow up | open
| n | resident | 21W009100 | Famis | FA-02R- | kitchen sink drain fell apart | M-11 | put drain back together and added a support to the dirt arm to hold it up so it doesn’t come apart again | resident | closed
| n | resident | 21W009102 | Famis | BB-U102 | Bathroom sink overflowing | M-11 | snaked drain line to clear | resident | closed
| n | resident | 21W009103 | Famis | BB-U105 | kitchen sink backing up | M-11 | snaked drain line to clear | resident | closed
| n | resident | 21W009109 | Famis | OB-121 | kitchen sink clogged and garbage disposal not working | M-11 | cleared drain line and had to replace garbage disposal that was completely locked up | resident | closed
| n | resident | 21W009110 | Famis | GM-M103 | toilet clogged | M-11 | unclogged toilet | resident | closed
| n | resident | 21W009115 | Famis | PL-B-29 | toilet flapper chain broke | M-11 | replaced flapper | resident | closed
| n | resident | 21W009117 | Famis | GM-M210 | toilet flush handle broke | M-11 | replaced toilet handle | resident | closed