## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2020-12-01 | y | GM RSO | 21S008645 | Radio | GMI | trash not going down trash chute | M-11 | trash chutes were clear but the compressor to open the doors went out. Replaced with a pancake compressor I found in the shop. Replacement needs to be ordered | follow up | open
| y | resident | 21W009243 | Famis | GM-D204 | The microwave isn't working and is making a weird sound, like a wire being fried. | M-11 | installed temp counter top microwave until the new microwave can be ordered | resident | open
| n | M-1 | n/a | M-1 | Glenmor | go through vacant units to check plumbing, make sure P-Traps and toilets have water in them, drains are clear and run garbage disposals | M-11 | started going through units clearing drains and running water. Will give a list to Trent of any issues found | M-1 | open