## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-01-21 | N | FAMMIS | 21W011398 |  | GML-508 | DORR ENTRY LIGHT OUT | M9 M11 | REPLACED BURNT BULB | RESIDENT | CLOSED
| N | M1 |  |  | GML-507 | DOOR ENTRY LIGHT OUT | M9 M11 | REPLACED BURNT BULB | RESIDENT | CLOSED
| N | M1 |  |  | GML-510 | DOOR ENTRY LIGHT OUT | M9 M11 | REPLACED BURNT BULB | RESIDENT | CLOSED
| N | M1 |  |  | GMJ | EXTERIOR LIGHT POLE IN FRONT OF RSO IS OUT | M9 M11 | REPLACED LED DRIVER FOR POLE LIGHT |  | CLOSED
| N | M1 |  |  | ESC SOUTH | NO HOT WATER | M9 M11 | RE LIT WATER HEATER |  | CLOSED
| N | FAMMIS | 21W011399 |  | OB-1 | FAUCET SPRAYING | M9 M11 | REPLACED ORING ON GOOSE NECK | RESIDENT | CLOSED
| N | FAMMIS | 21W011389 |  | BBR-101 | DISPOSAL NOT WORKING | M9 M11 | FREED UP MOTOR AND RESET DISPOSAL | RESIDENT | CLOSED
| N | FAMMIS | 21W011379 |  | OB-61 | CLOSET OFF TRACK | M9 M11 | REPLACED CLOSET BOTTOM GUIDE | RESIDENT | CLOSED
| N | M1 |  |  | PLAZA | BACK FILL HOLE WITH ASFAULT | M9 M11 | BACK FILLED HOLE |  | CLOSED
| N | STEAM PLANT |  |  | GMI | GAS SMELL | M9 M11 | CHECKED WHOLE BUILDING COULD NOT LOCATE SMELL |  | CLOSED
| N | RA |  |  | BBT-307 | FIRE ALARM | M9 M11 | BURNT FOOD |  | CLOSED
| N | FAMMIS | 21W01340 |  | FA-1D | toilet not flushinf | M9 M11 | adjusted flapper chain | RESIDENT | CLOSED