## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-01-23 | N | FAMMIS | 21W011514 |  | BBV-106 | CLOGGED KITCHEN SINK | M9 | RESET DISPOSAL CLEARED KITCHEN DRAIN | RESIDENT | CLOSED
| N |  |  | CUSTODIAL | LOTHIAN | BATHROOM SINK NOT DRAINING | M9 | CLEARED DRAIN | CUS LEAD | CLOSED
| N | M1 |  |  | GMI-405 | TURN UNIT OVER | M9 | COMPLETED TURNOVER |  | CLOSED
| N | M1 |  |  | GMI-402 | DOOR ENTRY LIGHT OUT | M9 | REOLACED BURNT BULB |  | CLOSED
| N | FAMMIS | 21W011515 |  | GMA-101 | WATER KEEPS RUNNING | M9 | REPLACED FILL VALVE ON TOILET | RESIDENT | CLOSED
| Y | FAMMIS | 21WO11519 |  | FA-5K | WATER INSIDE BATHROOM VANITY | M9 | RAN WATER COULD NOT FIND WATER DRIPPIN OR A SOURCE OF A POTENTIAL LEAK | RESIDENT | OPEN
| Y | STEAM PLANT |  |  | FA-7Q | FIRE ALARM | M9 | FAULTY SMOKE PANNEL WILL NOT REST CONTACTED TRENT TO CALL ALARM SHOP
| Y | RD |  |  | GM | LAUNDRY MACHINES SOMETIMES WORKING SAME FOR DRYERS | M9 | RESIDENTS BEEN COMPLAINING SOMETIMES THR WASHING AND DRYING MACHINES WORK CAN WE CONTACT WASH TO CHECK THEIR MACHINES