## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-01-29 | N | M1 |  |  | BBA-304 | FIRE ALARM | M9 M1 | BURNT FOOD | RESIDENT | CLOSED
| N | FAMMIS | 21W011919 |  | BBT-203 | STOVE STAYS ON | M9 | LEVELED OUT STOVE AND SECURED OVEN SWITCH | RESIDENT | CLOSED
| N |  |  | RSO | GMJ | TOILET IN RSO KEEPS FLUSHING | M9 | REPLACED FLUSH SELENOID TOILET SENSOR
| N | M1 |  |  | GMD-308 | ENTRY LIGHT OUT | M9 | REPLACED BULB
| N | M1 |  |  | GMD301 | ENTRY LIGHT OUT | M9 | REPLACED BULB
| N | M1 |  |  | GMD-401 | ENTRY LIGHT OUT | M9 | REPLACED BULB
| N | FAMMIS | 21W011949 |  | BB0-303 | FRIDGE NOT WORKING | M9 | RESET CIRCUIT BREAKER | RESIDENT | CLOSED