## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-02-04 | N | fammis | 21W012264 |  | FA-1C | CLOGGED TOILET | M9 M11 | CLEARED TOILET | RESIDENT | CLOSED
| Y |  |  | GM RSO | GMM-301 A | TROUBLE ALARM | M9 M11 | SMOKE IS SUPER DIRTY |  | OPEN
| Y |  |  | STEAM PLANT | LO A226 | WATER BUBBLE IN CEILING | M9 M11 | SHOWER UPSTAIRS LEAKING | RESIDENT | OPEN
| Y | FAMMIS |  |  | FA-12C | CARPET IN CLOSET WET | M9 M11 | SLAB LEAK IN BEDROOM ONE CLOSET | RESIDENT | OPEN
| N | FAMMIS |  |  | CDC-105 | FAUCET STILL LEAKING | M9 M11 | TIGHTEN UP ALL CONNECTION TO REGULATOR |  | CLOSED
| N | M1 |  |  | CDC=129 | PLEASE HANG CLOCK | M9 M11 | MOUNTED CLOCK OUTSIDE CLASS ROOM |  | CLOSED
| N | M1 |  |  | CDC-129 | PLEASE HANG BOARD | M9 M11 | MOUNTED BOARD OUTSIDE ABOVE FOUNTAIN |  | CLOSED
| N | M1 |  |  | CDC-118 | PLEASE REMOVE CABINET DOORS THAT ARE MARKED WITH TAPE | M9 M11 | REMOVED DOORS |  | CLOSED
| N | M1 |  |  | GMG-404 | ENTRY LIGHT OUT | M9 M11 | REPLACED LIGHT