## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-02-05 | N | FAMMIS | 21WO12311 |  | GMD-201 | SHOWER HEAD LEAKING | M9 | REPLACED SHOWER HEAD | RESIDENT | CLOSED
| N | FAMMIS | 21W012311 |  | GMD-201 | CLOG SHOWER | M9 | CLEARED TUB DRAIN | RESIDENT | CLOSED
| N | M1 |  |  | GMD-201 | DOOR ENTRY LIGHT OUT | M9 | REPLACED BURNT BULB
| N | M1 |  |  | GMD-202 | DOOR ENTRY LIGHT OUT | M9 | REPLACED BURNT BULB
| N | M1 |  |  | OB-35 | SECURE UNIT | M9 | LOCKED UP UNIT
| N | M1 |  |  | CDC-105 | SINK LEAKING | M9 | RAN SINK FOR ABOUT 10 MIN COULD NOT SEE ANY WATER LEAKING
| N | FAMMIS | 21W012321 |  | CDC-1202 | TOILET LEAKING | M9 | MADE REPAIRES TO SPUD CONNECTOR TO STOP LEAK |  | CLOSED
| N | FAMMIS | 21W012331 |  | GMM-210 | TOILET KEEPS FLUSHING | M9 | REPLACED TOILET FLAPPER | RESIDENT | CLOSED
| N | M1 |  |  | GMF | COMPLETE COVID TRAINING | M9 | COMPLETED TRAINING