## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-02-17 | n | resident | 21W012772 | radio | OB-093 | lizzard inside unit | M-11 | removed lizzard | resident | closed
| n | resident | n/a | radio | LO-B433 | lower bed | M-11 | bed can not be lowered, each bed has a desk and dresser underneath them and no room to move them | resident | closed
| n | resident | 21W012752 | Famis | FA-05K-BAT | bathroom light out | M-11 | replaced light | resident | closed
| n | resident | 21W012765 | Famis | PL-D-53 | Kitchen lights out | M-11 | replaced lights | resident | closed
| n | resident | 21W012765 | Famis | PL-D-53 | rangehood light out | M-11 | replaced light | resident | closed
| n | resident | 21W012784 | Famis | PL-D-53 | range hood fan is very loud | M-11 | repaired range hood | resident | closed
| n | resident | 21W012782 | Famis | OB-127 | garbage disposal leaking | M-11 | replaced garbage disposal | resident | closed
| n | M-1 trent | n/a | radio | PL-D building | check lights to make sure they are still working | M-11 | all lights are on | M-1 | closed