## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-02-25 | N | FAMMIS | 21WO13221 |  | BBA-302 | SINK IS CLOGGED | M9 M11 | CLEARED SINK DRAIN | RESIDENT | CLOSED
| N | RESIDENT |  |  | BBA-302 | SINK LEAKING | M9 M11 | REPLACED WASHERS FOR DRAIN CONNECTORS | RESIDENT | CLOSED
| N | M1 |  |  | GMF | SERVICE TRASH CHUTE COMPRESSOR | M9 M11 | DRAINED WATER FROM COMPRESSOR |  | CLOSED
| N | FAMMIS | 21W01094 |  | CDC SOUTH | HANG WHITE BOARDS OUTSIDE CDC | M9 M11 | HUNG WHITE BOARD |  | CLOSED
| N | FAMMIS | 21W01094 |  | CDC SOUTH | HANG WHITE BOARDS OUTSIDE CDC | M9 M11 | HUNG WHITE BOARD |  | CLOSED
| N | FAMMIS | 21S012415 |  | LO BASEMENT | OUTLET BY MENS RESTROOM NOT WORKING | M9 M11 | OUTLET OPERATING NORMALLY |  | CLOSED
| N | M1 |  |  | PHO | CONVERT EXTERIOR LIGHT POLE TO LED | M9 M11 | CONVERTED LIGHT POLE TO LED
| N | M1 |  |  | PHO | CONVERT EXTERIOR LIGHT POLE TO LED | M9 M11 | CONVERTED LIGHT POLE TO LED