## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
| y | resident | 21W013300 | Famis | OB-077 | bathroom flooded again | M-11 | checked on leak and patch came lose causing the bathroom to flood again. Adjusted patch and had custodial clean up water in bathroom | resident | open
| n | resident | 21W013303 | Famis | OB-129 | bathroom sink clogged | M-11 | cleared drain line | resident | closed
| n | resident | 21W013305 | Famis | PL-A-08 | toilet handle broke off | M-11 | replaced handle | resident | closed
| n | resident | 21W013305 | Famis | PL-A-08 | shower drain clogged | M-11 | cleared drain line | resident | closed
| n | resident | 21W013298 | Famis | FA-08A-BAT | shower drain clogged | M-11 | drain line was good pretty sure resident put in the wrong unit number because it doesn’t look like anyone is living in there | es maint | closed
| n | es maint | n/a | es maint | FA-08A | no power in unit | M-11 | all the breakers were shut off so I turned everything back on and made sure it was working | es maint | closed
| n | resident | 21W013310 | Famis | GM-M206 | kitchen sink overflowing and flooding dinning room | M-11 | snaked drain line to clear was unable to get ahold of custodial to clean area please follow up tommorw | resident | closed
| n | resident | 21W013311 | Famis | PL-A-01 | kitchen window was broken into and needs to be replaced | M-11 | talked to resident and she stated that she did not put in the work order and that everything was ok I checked the window and nothing was broken, resident must have put in the wrong unit number | resident | closed