## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-03-04 | y | custodial | n/a | radio | ECS-north | burnt smell coming from electrical room | M-11,M-9 | checked electrical room and smell is coming from battery backup, called trent to let him know and he had the electrical shop come check on it | follow up | open
| n | es maint | n/a | es maint | Pentland | convert pole lights to LED | M-11,M-9 | converted 2 poles outside of O,P building that were out | es maint | closed
| n | es maint | n/a | es maint | Pentland | convert pole lights to LED | M-11,M-9 | converted 2 poles outside of K,L buildingthat were out | es maint | closed
| n | resident | 21W013661 | Famis | FA-19A-KIT | no hot water in unit | M-11,M-9 | reset hot water heater but looking around I found both hot water lines for building 4 and 19 were shut off, was able to turn valves back on to get hot water back to both buildings | resident | closed
| n | resident | 21W013660 | Famis | FA-19F-KIT | no hot water in unit | M-11,M-9 | reset hot water heater but looking around I found both hot water lines for building 4 and 19 were shut off, was able to turn valves back on to get hot water back to both buildings | resident | closed