## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-03-10 | N | M1 |  |  | PL-22 | SECURE UNIT | M9 M11 | SECURED UNIT
| N | M1 |  |  | PL-3 | SECURE UNIT | M9 M11 | SECURED UNIT
| N | M1 |  |  | PL-23 | SECURE UNIT | M9 M11 | SECURED UNIT
| N | M1 |  |  | PL-31 | SECURE UNIT | M9 M11 | SECURED UNIT
| Y | FAMMIS | 21W013918 |  | GMA-105 | LIVING ROOM WINDOW BROKEN | M9 M11 | EXTERIOR PAIN SHATTER NEED TO SCHEDULE HOUR GLASS | DOOR TAG | FOLLOW UP
| N | FAMMIS | 21W013890 |  | GML-202 | CLOGGED BATH SINK | M9 M11 | CLEARED DRAIN | RESIDENT | CLOSED
| N | FAMMIS | 21W013891 |  | GML-202 | KITCHEN FAUCET IS ALWAYS DRIPPING | M9 M11 | SECURED FAUCET SO RESIDENT CAN SHUT WATER OFF | RESIDENT | CLOSED
| N |  |  |  | GML-202 | SHOWER IS CLOG | M9 M11 | SNAKED SHOWER DRAIN | RESIDENT | closed
| N | FAMMIS | 21W013046 |  | PL-6 | PIPE BROKE UNDER BATH SINK | M9 M11 | REPLACED BROKEN TAIL PIECE ON POP UP ASSEM | RESIDENT | CLOSED
| Y | FAMMIS | 21W013935 |  | GML302 | ELEVATOR BUTTON NOT WORKING | M9 M11 | 3RD FLOOR CALL BUTTON FOR ELEVATOR NOT WORKING BUT ELEVATOR IS FUNCTIONAL |  | FOLLOW UP
| N | FAMMIS | 21W013931 |  | LO-A3 | LIGHT FIXTURE COMING DOWN FROM CEILING | M9 M11 | SECURE FIXTUR BACK TO ORIGINAL SPACE |  | CLOSED