## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-03-11 | N | FAMMIS | 21W013979 |  | FA-1R | BATH SINK BACKING UP | M9 M11 | SNAKED DRAIN FROM 1K | RESISENT | CLOSED
| N | FAMMIS | 21W013978 |  | FA-1R | BATH SINK BACKING UP | M9 M11 | SNAKED DRAIN FROM 1K | RESISENT | CLOSED
| N | FAMMIS | 21W013976 |  | BBE-302 | KITCHEN OUTLETS NOT WORKING | M9 M11 | RESET CIRCUIT BREAKER | RESISENT | CLOSED
| N | RD |  | RD | GMF-601 | FIRE ALARM | M9 M11 | BURNT FOOD
| Y | RD |  | RD | OBAN | MAIN ENTRY GATES NOT OEPENING | M9 M11 | `GATE CLOSES TO PLAZA STAYED OPEN HAVE TAPS FOLLOW UP | FOLLOW UP | FOLLOW UP
| Y | RD |  | RD | LO-G204 | LEAK IN STUDY ROOM | M9 M11 | SMALL LEAK COMING FROM WINDOW SEAL BY BLACK BOARD | FOLLOW UP | FOLLOW UP
| N | M1 |  |  | GMF-602 | ENTRY DOOR LIGHT OUT | M9 M11 | REPLACED LIGHT
| N | M1 |  |  | GMF-604 | ENTRY DOOR LIGHT OUT | M9 M11 | REPLACED LIGHT
| N | M1 |  |  | GMF-606 | ENTRY DOOR LIGHT OUT | M9 M11 | REPLACED LIGHT
| N | M1 |  |  | GMF-610 | ENTRY DOOR LIGHT OUT | M9 M11 | REPLACED LIGHT
| N | M1 |  |  | GMF-609 | ENTRY DOOR LIGHT OUT | M9 M11 | REPLACED LIGHT