## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-03-19 | n | ext-shift | 21W014502 | famis | BB-G205 | wall exterior light out | M9/M10 | replaced light fixture w/ LED fixture | staff | close
| n | ext-shift | 21W014503 | famis | BB-G-GROUN | wall exterior light out | M9/M10 | replaced light fixture w/ LED fixture | staff | close
| n | ext-shift | 21W014501 | famis | BB-G201 | wall exterior light out | M9/M10 | replaced light fixture w/ LED fixture | staff | close
| n | ext-shift | 21W014499 | famis | PL-A-12 | stairway light out | M9/M10 | replaced light fixture w/ LED fixture | staff | close
| n | resident | 21W014496 | famis | FA-06H-BAT | no water is coming out of bathroom faucet | M9/M10 | replaced aerator flushed lines | resident | close
| n | resident | 21W014497 | famis | FA-06H-BAT | shower draining slow | M9/M10 | removed clog cleared drain | resident | close
| n | resident | 21W014498 | famis | FA-06H-KIT | dishwasher drainline clogged | M9/M10 | cleared line reset disposal | resident | close
| n | ext-shift | 21W014500 | famis | PL-BUILDIN | exterior light out | M9/M10 | replaced wall lamp light | staff | close
| n | ext-shift | 21W014504 | famis | BB-H201 | exterior light out | M9/M10 | replaced wall lamp light | staff | close
| n | ext-shift | 21W014505 | famis | BB-H206 | exterior light out | M9/M10 | replaced wall lamp light | staff | close
| n | ext-shift | 21W014506 | famis | BB-L-GROUN | exterior light out | M9/M10 | replaced wall lamp light | staff | close
| n | ext-shift | 21W014507 | famis | BB-N-GROUN | exterior light out | M9/M10 | replaced wall lamp light | staff | close
| n | ext-shift | 21W014508 | famis | BB-I202 | exterior light out | M9/M10 | replaced wall lamp light | staff | close