## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-03-20 | Y | staff | 21W014517 | famis | PL-laundry room | Door not working. RAoD tried PHP key but deadbolt would not work, just spun. The steam plant worker was unable to unlock the door. Need locksmith. | m10-m9 | opened door,found the passage knob unable to open the door removed the latch to allow access left in lock room in alarm room the top deadbolt is still working | follow-up | open
| Y | resident | 21W014515 | famis | BBL-301 | In my housing, I cannot control air conditioner temperature. Also, the remote is broken. | m10-m9 | unit only turns on and off cannot set temp the remote screen is blank | follow-up | open
| n | ext-shift | 21W014514 | famis | BB-L301 | bedroom light out | m10-m9 | replaced ceiling lamp light | resident | close
| n | ext-shift | 21W014516 | famis | BB-L301 | bathroom sink is clogged | m10-m9 | unclogged drainline cleared ptrap assembly | resident | close
| n | ext-shift | 21W014518 | famis | BB-K201 | exterior wall light out | m10-m9 | replaced wall fixture with LED | staff | close
| n | ext-shift | 21W014519 | famis | BB-C201 | exterior wall light out | m10-m9 | replaced wall fixture with LED | staff | close
| n | ext-shift | 21W014520 | famis | BB-C-GROUN | exterior wall light out | m10-m9 | replaced fixtures at the top of 2nd floor stairwell corridor w/ LED | staff | close
| n | ext-shift | 21W014521 | famis | BB-G100-CO | exterior wall light out | m10-m9 | replaced light outside laundry room | staff | close
| n | ext-shift | 21W014522 | famis | BB-H108-OF | exterior wall light out | m10-m9 | replaced exterior corridor wall light | staff | close
| n | ext-shift | 21W014523 | famis | BB-O101 | entry light out | m10-m9 | replaced light at entry way | staff | close
| n | ext-shift | 21W014524 | famis | BB-V106 | exterior wall light out | m10-m9 | replaced exterior corridor wall light | staff | close
| n | ext-shift | 21W014525 | famis | BB-V314 | exterior wall light out | m10-m9 | replaced exterior corridor wall light | staff | close
| n | ext-shift | 21W014526 | famis | BB-V201 | exterior wall light out | m10-m9 | replaced exterior corridor wall light | staff | close
| n | ext-shift | 21W014527 | famis | BB-R201 | exterior wall light out | m10-m9 | replaced exterior corridor wall light | staff | close