## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-03-25 | n | resident | 21W014766 | famis | PL-E-60 | toilet leaking | M9-M10 | replaced angle stop and supply line | resident | close
| n | resident | 21W014792 | famis | PL-E-60 | tub is draining slow | M9-M10 | cleared unclogged drainline | resident | close
| n | M1 | 21W014793 | famis | FA-19G | garage 6 leaking water running outside garage | M9-M10 | founs a hot water line with a pinhole patched hole-removed wet furniture away from the pipe furniture is storage should be dried and cleaned | staff | close
| n | resident | 21W014784 | famis | OB-006 | water is leaking under the sink | M9-M10 | replaced cracked two part drain line and ptrap trap compression gaskets | resident | close
| n | resident | 21W014795 | famis | OB-006 | dishwasher is not running | M9-M10 | reset motor unclogged drainline | resident | close
| n | resident | 21W014796 | famis | OB-006 | disposal clogged | M9-M10 | reset and unjammed disposal | resident | close
| n | staff | 21W014794 | famis | GM-J110 RE | front door to the RSO is not closing | M9-M10 | door was jammed due to handicap bar was stuck | staff | close
| n | M1 | n/a | radio | FK-bldg 3 | move out inspection | M9-M10 | completed paperwork | staff | close
| n | M1 | n/a | radio | FK-bldg 5 | move out inspections | M9-M10 | completed paperwork | staff | close
| n | M1 | n/a | radio | FK-bldg 6 | move out inspection | M9-M10 | completed paperwork | staff | close
| n | M1 | n/a | radio | FK-bldg 10 | move out inspection | M9-M10 | completed paperwork | staff | close
| n | M1 | n/a | radio | FK-bldg 11 | move out inspections | M9-M10 | completed paperwork | staff | close
| n | M1 | n/a | radio | GMF- | move out inspections | M9-M10 | completed paperwork | staff | close
| n | M1 | n/a | radio | GMG- | move out inspections | M9-M10 | completed paperwork | staff | close
| n | M1 | n/a | radio | GMI- | move out inspections | M9-M10 | completed paperwork | staff | close
| n | M1 | n/a | radio | BBC-303 | move out inspection | M9-M10 | completed paperwork | staff | close