## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-03-27 | n | resident | 21W014799 | famis | GM-M408 | I requested a repair around a week ago and I thought it was fixed but the moment the water clears from the sink pipes, the sink works for a bit before it starts to rise and overflow again. I slept in today and I woke up just now with most of the kitchen floor wet and kind of flooded | M9-M10 | snaked drainline ran snake several attempts removed scouring pad from the drain in pieced to clear the drainline,cleaned area picked up as much of the spill housekeeping was called to clean the area | resident | close
| n | resident | 21W014802 | famis | GM-M104 | I was picking up some nails near the stovetop and I'm concerned that some may have dropped under the burners. Could someone please check inside the burners to make sure no nails have fallen in? Thank you. | M9-M10 | inspected top and stove found no debris or screws in the stove | resident | close
| n | resident | 21W014803 | famis | PL-B-28 | locked out of bathroom | M9-M10 | unclocked door released lock | resident | close
| n | resident | 21W014804 | famis | FA-01B-B B | leaking shower | M9-M10 | tightened handle unclogged drainline | door tag | close
| n | ext shift | 21W014806 | famis | PL-MRR-MEN | light fixture | M9-M10 | replaced light with and LED fixture | staff | close
| n | ext shift | 21W014807 | famis | PL-WRR-WOM | light fixture | M9-M10 | replaced light with and LED fixture | staff | close
| n | ext shift | 21W014808 | famis | PL-BUILDIN | light fixture stairway landing | M9-M10 | replaced light with and LED fixture | staff | close
| n | ext shift | 21W014809 | famis | PL-COMPUTE | light fixture stairway landing | M9-M10 | replaced light with and LED fixture | staff | close
| n | m1 | n/a | staff | GMA- | final inspections | M9-M10 | completed inspections turned into RSO | staff | close
| n | m1 | n/a | staff | GMD- | final inspections | M9-M10 | completed inspections turned into RSO | staff | close
| n | m1 | n/a | staff | GME- | final inspections | M9-M10 | completed inspections turned into RSO | staff | close
| n | m1 | n/a | staff | GMM- | final inspections | M9-M10 | completed inspections turned into RSO | staff | close
| Y | resident | 21W014805 | famis | FA-01C-A | The bathroom sink has a very slow drain/partial clog | M9-M10 | resident was not responsive late call | follow-up | open