## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-03-30 | n | resident | 21W015046 | famis | PL-E-61 | kitchen sink clogged | M10-M11 | snaked kitchen drainline unclogged and clear cleaned up water spill in the cabinets kitchen line clear | resident | close
| n | resident | 21W015047 | famis | PL-E-61 | bathroom sink draining slow | M10-M11 | unclogged ptrap assembly | resident | close
| n | resident | 21W015048 | famis | PL-E-61 | shower clogged | M10-M11 | removed hair clog in the drainline | resident | close
| n | resident | 21W015041 | famis | GM-M310 | Rising water in sink even after disposal, seems clogged, not really sure | M10-M11 | snaked kitchen drainline unclogged and clear | resident | close
| n | resident | 21W015039 | famis | GM-D203 | toilet is not flushing only one in the unit | M10-M11 | replaced toilet handle adjusted fill valve | resident | close
| n | resident | 21W015040 | famis | GM-D203 | kitchen lights flickering | M10-M11 | replaced 2-12inch round lights in ceiling | resident | close
| n | resident | 21W015049 | famis | GM-D203 | light out in the living room | M10-M11 | replaced light on desk lamp | resident | close
| n | resident | 21W015050 | famis | GM-D203 | garbage disposal is not working | M10-M11 | reset unjammed disposal | resident | close
| n | resident | 21W015026 | famis | GM-B405 | toilet is leaking after every use | M10-M11 | replaced tank bolts and gasket | resident | close
| n | resident | 21W015051 | famis | GM-B405 | shower is leaking when used | M10-M11 | tightened lines and shower head | resident | close
| Y | resident | 21W015044 | famis | FA-05Q | Fridge isn't cooling well | M10-M11 | follow up in am resident not responsive | follow-up | open
| Y | resident | 21W015028 | famis | FA-12Q | The freezer isn't working and the screen of the patio in th living room is broken | M10-M11 | follow up in am resident not responsive | follow-up | open