## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-03-31 | n | M1 | 21W015177 | famis | PL-DET-01 | exterior area by detached garage and building F blind spot | ext-shift | ran electrical and added an LED light fixture to the area for added safety by the detached garages | staff | close
| n | M1 | 21W015178 | famis | GM-DGRD-BE | light out in GMD bicycle storage | ext-shift | relamped ceiling fixtures,replaced tombstones and installed LED lights | staff | close
| n | M1 | 21W015179 | famis | GM-DGRD-BE | light out in GMD bicycle storage | ext-shift | relamped ceiling fixtures,replaced tombstones and installed LED lights | staff | close
| n | M1 | 21W015180 | famis | GM-DGRD-BE | light out in GMD bicycle storage | ext-shift | relamped ceiling fixtures,replaced tombstones and installed LED lights | staff | close
| n | M1 | 21W015181 | famis | GM-DGRD-BE | light out in GMD bicycle storage | ext-shift | relamped ceiling fixtures,replaced tombstones and installed LED lights | staff | close
| n | M1 | 21W015182 | famis | GM-DGRD-BE | light out in GMD bicycle storage | ext-shift | relamped ceiling fixtures,replaced tombstones and installed LED lights | staff | close
| n | M1 | 21W015183 | famis | GM-DGRD-BE | light out in GMD bicycle storage | ext-shift | relamped ceiling fixtures,replaced tombstones and installed LED lights | staff | close
| n | M1 | 21W015184 | famis | BB-V302 | hole in cabinet shelf | ext-shift | patched cabinet | staff | close
| Y | plant | n/a | ext phone | LO-A | leak reported by elevator first floor | ext-shift | no source of a leak the area has water spilled from a trash can area floor needs cleaning | follow-up | open